产品名称：

Portable Cu/CuSO4 Reference (Wooden Head)

产品描述：

The copper sulfate reference electrode consists of a copper metal electrode in contact with a saturated solution of copper(II) sulfate (CuSO4). This electrode is popular in various applications, including cathodic potential testing, and is often used in conjunction with other electrodes in potentiometric measurements. Our cable free Cu/CuSO4 electrode are convenient to be carried and compatible to most of testing cables from Multi-meters.

- PRODUCT SPECIFICATIONS

Enclosure: Φ50×170mm

Enclosure Material: PVC

Filtration: Wooden Cap

Solution: Saturated CuSO4 Crystal

Electrode: Pure Copper (99.95%)

Connecting: 4mm banana socket